THE ELASTIC PROSTHESIS

TYPES OF MATERIALS AND NECESSARY DEVICES

Emilian Hutu,  Răzvan Leaţă,  Gabriela Leaţă

“Titu Maiorescu” University, Faculty of Dentistry, Bucharest

leata.razvan@yahoo.com

ABSTRACT

The target of this document is to present the types of dental elastic prosthesis existing on the market, but also the types of materials used in producing them, the devices implied and how they are made. The study includes the description the R3C injector and descriptions of the latest materials used in technical-clinical phases. After an analysis made on the market of dental laboratories and consulting rooms, it has been proven that the number of elastic prosthesis is continuously multiplying in comparison with the classic, acrylic ones. The scientific progress led to the creation of new technologies and materials on the market of dental products. The influence of thermoplastic-elastic prosthesis on the bone structure proved to be a good one and without negative pathological importance comparatively with the old classic prosthesis (which was acrylic and rigid).

KEYWORDS: elastic prosthesis, materials, flexit